“Present Challenges and Future Horizons in the Waste Treatment Industry”

By

Dr. Lev Nelik, P.E., APICS

President, Pumping Machinery, LLC

and

Chris Staud

Engineering, Wastewater Group, City of Atlanta

These days, the importance of fresh water supply and safely treated wastewater return can not be overemphasized. No matter how hard we try, we are still a long distance away from the most efficient, economic and reliable ways to ensure our cities are properly equipped and ready for the challenge. As a civilization, we have achieved isolated instances of superb efficiency in water treatment & reuse, such as space ships and stations, that must, rely on the almost perfect utilization and transformation of the precious cycle of water, as there is no alternative other then that, in space. But on the ground (earth), things (problems) are bigger, and not as technically advanced. Yet, - this is where are our world is, and this is where ecology dictates the need to be most attentive to the nature.

Is wastewater about to be treated in other ways?  Currently most plants use a combination of biological and chemical waste stabilization.  Increasingly EPA is presenting the idea of making wastewater effluents much cleaner in terms of nutrients.  This forces most plants to add more and more chemicals to polish their effluents.  The other unintended effect is that multiple systems are now needing more and more maintenance.  Wastewater plants are having trouble maintaining complicated systems while keeping costs down.  Eventually, a lot more chemical stabilization is going to displace more and more of the biological stabilization.  One big problem area is biological phosphorus removal followed by anaerobic digestion.  The unfortunate consequence of this procedure is the release of phosphorus back into the plant, whereas chemical phosphorus removal permanently ties up the phosphorus until it leaves the system via landfill or incineration.  Lessons learned: very complex systems are not only hard to run but very expensive to maintain.

Protecting pump primary, secondary and tertiary treatment from the incoming grit with water is an important step in extending equipment life. And the ways to pump water undergo changes as well. The traditional end suction pumps have been steadily given way to wet submersible units, and now even to “dry” submersibles, where they are mounted into a dry pit, connected to a wet pit, but allowing easy access to the pumps and repair or maintenance.

Combined sewers present challenges as well, but it is expensive to separate the streams, and, in practice, the more readily accessible piping is being handled first, leaving the more difficult accesses for a future work.  With the complexities that sewer separations create and the disruption to business, many communities are turning to tunnel collection systems when upgrade (capacity issues, or forced by government regulation) are required.  Increasingly, drop shafts will become very common in many downtown urban areas.  Many communities will find the added benefit of cleaning up storm water to be a much needed amenity to growing urban cores.

Repairs must become simpler and faster. Presently, maintenance departments do simpler repairs in house, and large and more sophisticated equipment by the outside contractors. Systems have gotten more complex, and more computers are used to control them. Computer specialists are more common place at the waste treatment plants, who have good understanding of computers, but may lack the knowledge of the equipment. Likewise, maintenance personnel may be experienced with the equipment, but lacks the proficiency in computers, and thus a disconnect between the equipment handling and the systems that motor such handling exists in many places. More training is required to bridge this gap, and more interactions between the departments, and groups would be beneficial.

New materials are available today, that were novelty, or non-existed years ago. For example, duplex stainless steels perform better for centrifuge applications as compared to regular stainless steels. Composites are becoming more common, with advantages of light weight, cavitation resistance, and corrosion resistance.

How will our plants look 20 years from now? It is hoped that higher efficiencies, and effectiveness, of the systems would allow less waste and better recycling of the resources. We may see various technologies applied and new trends: perhaps water and waste treatment plants would combine, and less wastewater will be discharged to the rivers, and more of it participating in the closed cycle, making our rivers safer and more environmentally friendly.

Plants space, especially in cities, would have to me utilized better, and some communities would likely apply new methods for individual communities (our even individual homes) with close-cycle water technology, to be more self-sustained, and less polluting. Remember the experiment with biosphere, conducted in Arizona some 10 years ago? It obviously can work on a prototype, and the challenge is to bring it in at a more widely popular scale. Less water discharged to the rivers would mean less piping, less repairs and less groundwork disruptions, and better preserved infrastructure. Such common (today) problems as cracks in pipes, infiltration, plugging - would go away, if our homes would become equipped with the self-sustained water modules. Today, the realities of the environment apply their needs – for examples  islands, surrounded by the ocean, utilize roughly 20% of water from desalination projects, while this percentage is much less in the mainland. The environmental pressures would likely increase this percentage significantly.  This may mean less storm water runoff via infiltration collection devices (unfortunately the termites might like this, but then again we won’t be using wood for houses will we?!)

Perhaps one day the present trend of issues with your water supply will be reversed with better water treatment and delivery systems.  The public is increasingly concerned whether we actually remove all of the harmful pathogens in drinking water in urban areas downstream on major river system.

Sunlight energy would be utilized better, with solar panels, and special bacteria growing methods will advance even further, to make us less energy dependent, and more efficient.

It is hard to tell, of course, how the world will look like 20 years from now. But, if do not try imagining it today, the alternative may find us unprepared in the future. Perhaps the time to plan, or at least talk about it, is now. We would like to hear the input from our readers, and welcome any additional ideas, challenges or thoughts.

Send you comments to: DrPump@Pump-Magazine.com

Back to PUMP MAGAZINE Page

ARTICLES LIST